## Inputs
Input | Value | Unit | Source
Electrolyser capacity | 5 | MW | Feasibility study
Full-load hours | 5200 | h/a | Dispatch model
Specific consumption (system) | 54 | kWh/kg | Vendor RFI, average of PEM bids
Electricity price incl. network charges | 62 | EUR/MWh | Sleeved Harrow Bay + grid
WACC (nominal, pre-tax) | 0.07 |  | Finance guidance 2026
Lifetime | 20 | years
Total capex |  | EUR m | Capex tab
Fixed O&M | 0.025 | of capex p.a.
Stack replacement provision | 0.22 | EUR m/a | Replacement at ~70,000 h
Staff (2 FTE shared) | 0.25 | EUR m/a
Water and consumables | 0.03 | EUR m/a
Innovation Fund grant | 10.5 | EUR m | Scenario – set to 0 for no-grant case

## Capex
Item | EUR m
Electrolyser stacks and power electronics | 7.4
Balance of plant (water treatment, cooling, purification) | 3.1
Compression (30 → 200 bar) and buffer storage 2.5 t | 2.3
Hydrogen pipeline to Arcturus rolling mill (1.4 km) | 1.3
Grid connection 33 kV and transformer | 1.6
Civil works and electrolyser hall | 2.2
Engineering, project management, owner's costs | 1.9
Contingency (≈ 9 %) | 1.7
Total

## Calculation
Calculation | No grant | With grant | Unit
Electricity consumed |  |  | MWh/a
Hydrogen produced |  |  | kg/a
Capital recovery factor
Annualised capex |  |  | EUR m/a
Fixed opex |  |  | EUR m/a
Electricity cost |  |  | EUR m/a
Total annual cost |  |  | EUR m/a
LCOH |  |  | EUR/kg
of which capex |  |  | EUR/kg
of which fixed opex |  |  | EUR/kg
of which electricity |  |  | EUR/kg

## Sensitivities
Sensitivity | Favourable (EUR/kg) | Unfavourable (EUR/kg) | Swing
Electricity price 42 / 82 EUR/MWh | 8.64 | 10.8
Full-load hours 6,500 / 4,000 | 8.44 | 11.63
Capex −20 % / +20 % | 8.65 | 10.78
WACC 5 % / 9 % | 9.09 | 10.39
Specific consumption 51 / 58 kWh/kg | 9.18 | 10.44

## Price x hours
LCOH (EUR/kg, no grant) by electricity price and full-load hours
Electricity price (EUR/MWh) \ Full-load hours | 3500 | 4000 | 4500 | 5200 | 6000 | 6500
40 | 11.62 | 10.44 | 9.52 | 8.53 | 7.68 | 7.26
50 | 12.16 | 10.98 | 10.06 | 9.07 | 8.22 | 7.8
62 | 12.81 | 11.63 | 10.71 | 9.72 | 8.87 | 8.44
70 | 13.24 | 12.06 | 11.14 | 10.15 | 9.3 | 8.88
80 | 13.78 | 12.6 | 11.68 | 10.69 | 9.84 | 9.42
90 | 14.32 | 13.14 | 12.22 | 11.23 | 10.38 | 9.96