## Summary
Fleet KPI Dashboard 2026
KPI | Value | Comment
Generation wind + solar YTD (GWh) | 1494.1 | Budget 1511.4 GWh (-1.1 %)
Average wind availability YTD | 96.8 % | Target 97.0 %
Assets in operation | 13 | 1,100 MW total
Lost time injuries (operations) | 1 | Altmark, 19 Mar 2026 (HSE-INC-2026-007)
Kestrel Ridge YTD availability | 97.0 % | Incl. T-07 outage (KR-INC-2026-003)

## Generation (GWh)
Asset | Technology | MW | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | YTD actual | YTD budget | Variance %
Kestrel Ridge Wind Farm | Onshore wind | 75.6 | 24.7 | 20 | 21.7 | 15.6 | 13.6 | 11.2 | 9.8 | 13 |  | 133.6
Skerrow Moor Wind Farm | Onshore wind | 96 | 30.8 | 23.6 | 25.9 | 18.5 | 15.8 | 12.8 | 11.5 | 15.4 |  | 155
Dunmore Hill Wind Farm | Onshore wind | 61.5 | 18.1 | 14.1 | 16.1 | 10.9 | 10.1 | 8.3 | 6.8 | 9.4 |  | 96.2
Glenquey Wind Farm | Onshore wind | 52.5 | 17.3 | 13.6 | 15.1 | 10.3 | 9.2 | 7.8 | 6.7 | 8.6 |  | 89.3
Nordheide Windpark | Onshore wind | 118.8 | 27.7 | 23.7 | 21.9 | 19.1 | 18.1 | 10.9 | 11.3 | 14.1 |  | 152.8
Wesermarsch Windpark | Onshore wind | 84 | 20.8 | 17 | 20.2 | 13 | 13.2 | 9.2 | 10.5 | 10.8 |  | 116.7
Ostholstein Windpark | Onshore wind | 72 | 21.6 | 18.5 | 16 | 13.6 | 10.3 | 9.7 | 8.7 | 9.9 |  | 107.6
Emsland Windpark | Onshore wind | 105.6 | 27.5 | 20.5 | 24.5 | 16.5 | 15.7 | 12.3 | 11.6 | 14 |  | 139.3
Altmark Windpark | Onshore wind | 139.6 | 32.2 | 27.7 | 25.5 | 20.4 | 17.7 | 13.4 | 15.2 | 17.2 |  | 169.7
Thy Vest Vindpark | Onshore wind | 110.4 | 31.6 | 28.5 | 32.7 | 22.1 | 17.4 | 15.1 | 14.7 | 19.6 |  | 185.9
Ringkøbing Vindpark | Onshore wind | 34.6 | 9 | 9.1 | 8.4 | 7 | 6 | 5 | 4.1 | 4.9 |  | 55.3
Uckermark Solarpark | Solar PV | 92 | 2.1 | 3.4 | 7.1 | 10 | 11.7 | 12.8 | 10.9 | 10.7 |  | 67.7
Lüneburger Heide Solarpark | Solar PV | 57.4 | 1.1 | 2.4 | 4.3 | 6.1 | 7.7 | 7.5 | 6.9 | 6.2 |  | 42.3
Fleet total

## Availability (%)
Asset | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | YTD
Kestrel Ridge Wind Farm | 94.1 | 96.2 | 97.7 | 97.9 | 96.8 | 97.5 | 97.6 | 97.8
Skerrow Moor Wind Farm | 97.7 | 97.5 | 98.3 | 98 | 97.1 | 97.3 | 97.7 | 98
Dunmore Hill Wind Farm | 96.7 | 94.7 | 96.8 | 96 | 96.8 | 96.7 | 95.9 | 96.2
Glenquey Wind Farm | 98 | 98 | 97 | 96.5 | 96.7 | 98 | 96.8 | 97.5
Nordheide Windpark | 98.1 | 97.2 | 97.3 | 98.3 | 98.2 | 95.9 | 97.7 | 98.2
Wesermarsch Windpark | 95.8 | 95.5 | 94.3 | 95.9 | 95.8 | 96 | 94.6 | 94.9
Ostholstein Windpark | 97 | 97 | 97.4 | 95.8 | 96.5 | 96.6 | 95.9 | 98.2
Emsland Windpark | 98.3 | 97 | 98.2 | 96.4 | 98.3 | 96.2 | 97.6 | 96.4
Altmark Windpark | 97.8 | 96.6 | 96 | 98 | 97 | 96.7 | 97.8 | 96.4
Thy Vest Vindpark | 97.3 | 96.5 | 98.2 | 96.4 | 96 | 96.3 | 96.6 | 97.7
Ringkøbing Vindpark | 95.5 | 95.6 | 94.8 | 95.8 | 96.6 | 94.6 | 96.9 | 94.7
Uckermark Solarpark | 99.5 | 99.5 | 99.4 | 99.3 | 99.6 | 99 | 99.1 | 98.9
Lüneburger Heide Solarpark | 99.3 | 98.9 | 99.8 | 99.3 | 99.7 | 99.8 | 99 | 99.1

## Notable events
Date | Asset | Note
2026-01-14 | Kestrel Ridge | T-07 gearbox failure, 23 days offline
2026-03-18 | Nordheide | Redispatch 2.0 curtailment above 6 % in the month
2026-06-02 | Uckermark Solar | Central inverter INV-07 failure, 9 days at 93 % capacity
2026-08-21 | Altmark | WEA 12 transformer gas relay alarm, 5 days offline for oil analysis and repair