## Inventory
Item | Part number | Asset | Location | On hand | Min stock | Unit cost (EUR) | Stock value (EUR) | Criticality | Lead time (weeks) | Below min?
Pitch motor 4.2 MW | PM-42-110 | Kestrel Ridge | Galashiels (Highline) | 0 | 1 | 6800 |  | A | 14
Pitch accumulator 32 l | PA-32-07 | Kestrel Ridge | Galashiels (Highline) | 1 | 2 | 1450 |  | B | 6
Yaw brake pad set | YB-PAD-12 | Kestrel Ridge | Galashiels (Highline) | 9 | 6 | 380 |  | C | 4
Yaw drive gearbox | YD-GB-04 | Kestrel Ridge | Galashiels (Highline) | 2 | 1 | 12400 |  | A | 20
Generator slip ring assembly | GS-SR-22 | Kestrel Ridge | Galashiels (Highline) | 5 | 2 | 7600 |  | B | 12
Carbon brush set | GS-CB-06 | Kestrel Ridge | Galashiels (Highline) | 12 | 6 | 210 |  | C | 3
Gearbox oil filter element | GB-OF-310 | Kestrel Ridge | Galashiels (Highline) | 6 | 6 | 165 |  | C | 2
HSS bearing set | GB-HSS-BRG | Kestrel Ridge | Galashiels (Highline) | 4 | 1 | 11200 |  | A | 22
Main shaft temperature sensor | MS-TS-01 | Kestrel Ridge | Galashiels (Highline) | 12 | 6 | 140 |  | C | 2
Service lift wire rope 120 m | SL-WR-120 | Kestrel Ridge | Galashiels (Highline) | 4 | 2 | 980 |  | B | 4
Fall arrest runner | FA-RUN-03 | Kestrel Ridge | Galashiels (Highline) | 6 | 6 | 320 |  | C | 2
Tower base controller PLC | TBC-PLC-9 | Kestrel Ridge | Galashiels (Highline) | 0 | 1 | 4300 |  | A | 16
Pitch motor 4.2 MW | PM-42-110 | Skerrow Moor | Skerrow site store | 1 | 1 | 6800 |  | A | 14
Pitch accumulator 32 l | PA-32-07 | Skerrow Moor | Skerrow site store | 1 | 2 | 1450 |  | B | 6
Yaw brake pad set | YB-PAD-12 | Skerrow Moor | Skerrow site store | 9 | 6 | 380 |  | C | 4
Yaw drive gearbox | YD-GB-04 | Skerrow Moor | Skerrow site store | 0 | 1 | 12400 |  | A | 20
Generator slip ring assembly | GS-SR-22 | Skerrow Moor | Skerrow site store | 3 | 2 | 7600 |  | B | 12
Gearbox oil filter element | GB-OF-310 | Skerrow Moor | Skerrow site store | 6 | 6 | 165 |  | C | 2
HSS bearing set | GB-HSS-BRG | Skerrow Moor | Skerrow site store | 3 | 1 | 11200 |  | A | 22
Hydraulic pump unit | HY-PU-18 | Skerrow Moor | Skerrow site store | 4 | 2 | 5400 |  | B | 10
Service lift wire rope 120 m | SL-WR-120 | Skerrow Moor | Skerrow site store | 2 | 2 | 980 |  | B | 4
Tower base controller PLC | TBC-PLC-9 | Skerrow Moor | Skerrow site store | 3 | 1 | 4300 |  | A | 16
Aviation light LED unit | AV-LED-2000 | Skerrow Moor | Skerrow site store | 5 | 2 | 860 |  | B | 6
33 kV cable termination kit | HV-TERM-33 | Skerrow Moor | Skerrow site store | 1 | 2 | 690 |  | B | 4
Surge arrester 33 kV | HV-SA-33 | Skerrow Moor | Skerrow site store | 3 | 2 | 540 |  | B | 6
Generator slip ring assembly | GS-SR-22 | Dunmore Hill | Dunmore site store | 3 | 2 | 7600 |  | B | 12
Carbon brush set | GS-CB-06 | Dunmore Hill | Dunmore site store | 15 | 6 | 210 |  | C | 3
HSS bearing set | GB-HSS-BRG | Dunmore Hill | Dunmore site store | 4 | 1 | 11200 |  | A | 22
Anemometer heated ultrasonic | MET-US-02 | Dunmore Hill | Dunmore site store | 2 | 2 | 2100 |  | B | 5
Main shaft temperature sensor | MS-TS-01 | Dunmore Hill | Dunmore site store | 3 | 6 | 140 |  | C | 2
Hydraulic pump unit | HY-PU-18 | Dunmore Hill | Dunmore site store | 3 | 2 | 5400 |  | B | 10
Aviation light LED unit | AV-LED-2000 | Dunmore Hill | Dunmore site store | 3 | 2 | 860 |  | B | 6
Surge arrester 33 kV | HV-SA-33 | Dunmore Hill | Dunmore site store | 3 | 2 | 540 |  | B | 6
Pitch motor 4.2 MW | PM-42-110 | Glenquey | OEM regional store | 3 | 1 | 6800 |  | A | 14
Pitch accumulator 32 l | PA-32-07 | Glenquey | OEM regional store | 5 | 2 | 1450 |  | B | 6
IGBT converter module | CV-IGBT-1700 | Glenquey | OEM regional store | 1 | 1 | 9200 |  | A | 18
Yaw drive gearbox | YD-GB-04 | Glenquey | OEM regional store | 3 | 1 | 12400 |  | A | 20
Generator slip ring assembly | GS-SR-22 | Glenquey | OEM regional store | 5 | 2 | 7600 |  | B | 12
Gearbox oil filter element | GB-OF-310 | Glenquey | OEM regional store | 12 | 6 | 165 |  | C | 2
HSS bearing set | GB-HSS-BRG | Glenquey | OEM regional store | 4 | 1 | 11200 |  | A | 22
Nacelle cooling fan motor | NC-FAN-55 | Glenquey | OEM regional store | 1 | 2 | 1900 |  | B | 6
Anemometer heated ultrasonic | MET-US-02 | Glenquey | OEM regional store | 5 | 2 | 2100 |  | B | 5
Fall arrest runner | FA-RUN-03 | Glenquey | OEM regional store | 15 | 6 | 320 |  | C | 2
33 kV cable termination kit | HV-TERM-33 | Glenquey | OEM regional store | 3 | 2 | 690 |  | B | 4
Surge arrester 33 kV | HV-SA-33 | Glenquey | OEM regional store | 5 | 2 | 540 |  | B | 6
Pitch motor 4.2 MW | PM-42-110 | Nordheide | Husum central store | 2 | 1 | 6800 |  | A | 14
IGBT converter module | CV-IGBT-1700 | Nordheide | Husum central store | 4 | 1 | 9200 |  | A | 18
Yaw brake pad set | YB-PAD-12 | Nordheide | Husum central store | 9 | 6 | 380 |  | C | 4
Yaw drive gearbox | YD-GB-04 | Nordheide | Husum central store | 0 | 1 | 12400 |  | A | 20
Generator slip ring assembly | GS-SR-22 | Nordheide | Husum central store | 5 | 2 | 7600 |  | B | 12
HSS bearing set | GB-HSS-BRG | Nordheide | Husum central store | 0 | 1 | 11200 |  | A | 22
Main shaft temperature sensor | MS-TS-01 | Nordheide | Husum central store | 3 | 6 | 140 |  | C | 2
Service lift wire rope 120 m | SL-WR-120 | Nordheide | Husum central store | 3 | 2 | 980 |  | B | 4
Fall arrest runner | FA-RUN-03 | Nordheide | Husum central store | 6 | 6 | 320 |  | C | 2
Tower base controller PLC | TBC-PLC-9 | Nordheide | Husum central store | 4 | 1 | 4300 |  | A | 16
33 kV cable termination kit | HV-TERM-33 | Nordheide | Husum central store | 1 | 2 | 690 |  | B | 4
Surge arrester 33 kV | HV-SA-33 | Nordheide | Husum central store | 5 | 2 | 540 |  | B | 6
Yaw brake pad set | YB-PAD-12 | Wesermarsch | Husum central store | 3 | 6 | 380 |  | C | 4
Yaw drive gearbox | YD-GB-04 | Wesermarsch | Husum central store | 4 | 1 | 12400 |  | A | 20
Generator slip ring assembly | GS-SR-22 | Wesermarsch | Husum central store | 1 | 2 | 7600 |  | B | 12
Nacelle cooling fan motor | NC-FAN-55 | Wesermarsch | Husum central store | 1 | 2 | 1900 |  | B | 6
Anemometer heated ultrasonic | MET-US-02 | Wesermarsch | Husum central store | 2 | 2 | 2100 |  | B | 5
Aviation light LED unit | AV-LED-2000 | Wesermarsch | Husum central store | 4 | 2 | 860 |  | B | 6
Pitch motor 4.2 MW | PM-42-110 | Ostholstein | Husum central store | 3 | 1 | 6800 |  | A | 14
IGBT converter module | CV-IGBT-1700 | Ostholstein | Husum central store | 4 | 1 | 9200 |  | A | 18
Yaw brake pad set | YB-PAD-12 | Ostholstein | Husum central store | 3 | 6 | 380 |  | C | 4
Yaw drive gearbox | YD-GB-04 | Ostholstein | Husum central store | 3 | 1 | 12400 |  | A | 20
Generator slip ring assembly | GS-SR-22 | Ostholstein | Husum central store | 4 | 2 | 7600 |  | B | 12
Carbon brush set | GS-CB-06 | Ostholstein | Husum central store | 3 | 6 | 210 |  | C | 3
Nacelle cooling fan motor | NC-FAN-55 | Ostholstein | Husum central store | 5 | 2 | 1900 |  | B | 6
Main shaft temperature sensor | MS-TS-01 | Ostholstein | Husum central store | 15 | 6 | 140 |  | C | 2
Hydraulic pump unit | HY-PU-18 | Ostholstein | Husum central store | 3 | 2 | 5400 |  | B | 10
Service lift wire rope 120 m | SL-WR-120 | Ostholstein | Husum central store | 2 | 2 | 980 |  | B | 4
Aviation light LED unit | AV-LED-2000 | Ostholstein | Husum central store | 1 | 2 | 860 |  | B | 6
33 kV cable termination kit | HV-TERM-33 | Ostholstein | Husum central store | 2 | 2 | 690 |  | B | 4
Surge arrester 33 kV | HV-SA-33 | Ostholstein | Husum central store | 3 | 2 | 540 |  | B | 6
Pitch accumulator 32 l | PA-32-07 | Thy Vest | Hanstholm (OEM) | 5 | 2 | 1450 |  | B | 6
Yaw drive gearbox | YD-GB-04 | Thy Vest | Hanstholm (OEM) | 1 | 1 | 12400 |  | A | 20
Carbon brush set | GS-CB-06 | Thy Vest | Hanstholm (OEM) | 6 | 6 | 210 |  | C | 3
Main shaft temperature sensor | MS-TS-01 | Thy Vest | Hanstholm (OEM) | 6 | 6 | 140 |  | C | 2
Hydraulic pump unit | HY-PU-18 | Thy Vest | Hanstholm (OEM) | 5 | 2 | 5400 |  | B | 10
Service lift wire rope 120 m | SL-WR-120 | Thy Vest | Hanstholm (OEM) | 3 | 2 | 980 |  | B | 4
Tower base controller PLC | TBC-PLC-9 | Thy Vest | Hanstholm (OEM) | 4 | 1 | 4300 |  | A | 16
33 kV cable termination kit | HV-TERM-33 | Thy Vest | Hanstholm (OEM) | 1 | 2 | 690 |  | B | 4
String inverter 100 kW | INV-STR-100 | Uckermark Solar | Uckermark site container | 1 | 2 | 4200 |  | B | 8
MV transformer 3.15 MVA | MVT-3150 | Uckermark Solar | Uckermark site container | 4 | 1 | 64000 |  | A | 40
Central inverter power stack | INV-PS-2500 | Lüneburger Heide Solar | Uckermark site container | 1 | 1 | 38500 |  | A | 24
Tracker motor | TRK-MOT-24 | Lüneburger Heide Solar | Uckermark site container | 9 | 6 | 290 |  | C | 5
Surge arrester 33 kV | HV-SA-33 | Lüneburger Heide Solar | Uckermark site container | 1 | 2 | 540 |  | B | 6
Pitch accumulator 32 l | PA-32-07 | Emsland | Husum central store | 3 | 2 | 1450 |  | B | 6
IGBT converter module | CV-IGBT-1700 | Emsland | Husum central store | 2 | 1 | 9200 |  | A | 18
Yaw brake pad set | YB-PAD-12 | Emsland | Husum central store | 15 | 6 | 380 |  | C | 4
Yaw drive gearbox | YD-GB-04 | Emsland | Husum central store | 1 | 1 | 12400 |  | A | 20
Gearbox oil filter element | GB-OF-310 | Emsland | Husum central store | 6 | 6 | 165 |  | C | 2
Nacelle cooling fan motor | NC-FAN-55 | Emsland | Husum central store | 3 | 2 | 1900 |  | B | 6
Anemometer heated ultrasonic | MET-US-02 | Emsland | Husum central store | 5 | 2 | 2100 |  | B | 5
Main shaft temperature sensor | MS-TS-01 | Emsland | Husum central store | 15 | 6 | 140 |  | C | 2
Hydraulic pump unit | HY-PU-18 | Emsland | Husum central store | 4 | 2 | 5400 |  | B | 10
Service lift wire rope 120 m | SL-WR-120 | Emsland | Husum central store | 2 | 2 | 980 |  | B | 4
Fall arrest runner | FA-RUN-03 | Emsland | Husum central store | 9 | 6 | 320 |  | C | 2
Tower base controller PLC | TBC-PLC-9 | Emsland | Husum central store | 1 | 1 | 4300 |  | A | 16
33 kV cable termination kit | HV-TERM-33 | Emsland | Husum central store | 4 | 2 | 690 |  | B | 4
Surge arrester 33 kV | HV-SA-33 | Emsland | Husum central store | 5 | 2 | 540 |  | B | 6
Pitch motor 4.2 MW | PM-42-110 | Altmark | Husum central store | 1 | 1 | 6800 |  | A | 14
Pitch accumulator 32 l | PA-32-07 | Altmark | Husum central store | 5 | 2 | 1450 |  | B | 6
IGBT converter module | CV-IGBT-1700 | Altmark | Husum central store | 1 | 1 | 9200 |  | A | 18
Generator slip ring assembly | GS-SR-22 | Altmark | Husum central store | 3 | 2 | 7600 |  | B | 12
Carbon brush set | GS-CB-06 | Altmark | Husum central store | 15 | 6 | 210 |  | C | 3
Gearbox oil filter element | GB-OF-310 | Altmark | Husum central store | 15 | 6 | 165 |  | C | 2
HSS bearing set | GB-HSS-BRG | Altmark | Husum central store | 1 | 1 | 11200 |  | A | 22
Nacelle cooling fan motor | NC-FAN-55 | Altmark | Husum central store | 1 | 2 | 1900 |  | B | 6
Anemometer heated ultrasonic | MET-US-02 | Altmark | Husum central store | 1 | 2 | 2100 |  | B | 5
Main shaft temperature sensor | MS-TS-01 | Altmark | Husum central store | 9 | 6 | 140 |  | C | 2
Service lift wire rope 120 m | SL-WR-120 | Altmark | Husum central store | 3 | 2 | 980 |  | B | 4
Surge arrester 33 kV | HV-SA-33 | Altmark | Husum central store | 2 | 2 | 540 |  | B | 6
Yaw brake pad set | YB-PAD-12 | Ringkøbing | Hanstholm (OEM) | 15 | 6 | 380 |  | C | 4
Yaw drive gearbox | YD-GB-04 | Ringkøbing | Hanstholm (OEM) | 2 | 1 | 12400 |  | A | 20
Carbon brush set | GS-CB-06 | Ringkøbing | Hanstholm (OEM) | 6 | 6 | 210 |  | C | 3
HSS bearing set | GB-HSS-BRG | Ringkøbing | Hanstholm (OEM) | 1 | 1 | 11200 |  | A | 22
Nacelle cooling fan motor | NC-FAN-55 | Ringkøbing | Hanstholm (OEM) | 1 | 2 | 1900 |  | B | 6
Main shaft temperature sensor | MS-TS-01 | Ringkøbing | Hanstholm (OEM) | 15 | 6 | 140 |  | C | 2
Service lift wire rope 120 m | SL-WR-120 | Ringkøbing | Hanstholm (OEM) | 4 | 2 | 980 |  | B | 4
Fall arrest runner | FA-RUN-03 | Ringkøbing | Hanstholm (OEM) | 12 | 6 | 320 |  | C | 2
33 kV cable termination kit | HV-TERM-33 | Ringkøbing | Hanstholm (OEM) | 3 | 2 | 690 |  | B | 4
Surge arrester 33 kV | HV-SA-33 | Ringkøbing | Hanstholm (OEM) | 1 | 2 | 540 |  | B | 6