Battery Energy Storage Systems – Design Guideline

Guideline, Revision 1

Sofie Lindqvist  ·  22 January 2026  ·  WE-ENG-GDL-007

# 1. Purpose

Minimum design requirements for the Millbrook 20 MW / 40 MWh BESS. To be generalised for Fenwick later.

# 2. Cell chemistry

LFP only. NMC is not accepted for utility-scale projects.