## Inputs
Input | Value | Unit | Source
Electrolyser capacity | 5 | MW | Feasibility study
Full-load hours | 5200 | h/a | Dispatch model
Specific consumption (system) | 54 | kWh/kg | Vendor RFI, average of PEM bids
Electricity price incl. network charges | 62 | EUR/MWh | Sleeved Harrow Bay + grid
WACC (nominal, pre-tax) | 0.07 |  | Finance guidance 2026
Lifetime | 20 | years
Total capex |  | EUR m | Capex tab
Fixed O&M | 0.025 | of capex p.a.
Stack replacement provision | 0.22 | EUR m/a | Replacement at ~70,000 h
Staff (2 FTE shared) | 0.25 | EUR m/a
Water and consumables | 0.03 | EUR m/a
Innovation Fund grant | 10.5 | EUR m | Scenario – set to 0 for no-grant case

## Capex
Item | EUR m
Electrolyser and BoP | 10.5
Compression, storage, 4 tube trailers | 4.9
Grid, civil, owner's costs | 5.7
Contingency | 1.7
Total