## Connections
Project | Agreement / offer | Type | Point of connection | Voltage (kV) | Export (MW) | Import (MW) | Status | Connection date | Securities (EUR m) | Owner
Harrow Bay Offshore Wind | NGT-BCA-2023-0088 | Bilateral connection agreement | Harrow Bay East 400 kV substation | 400 | 480 | 15 | Signed – construction | 2027-09-01 (phase 1) / 2028-03-31 (full) | 12.6 | Ahmed Rahimi
Kestrel Ridge Wind Farm | NGT-CA-2021-0213 | Connection agreement | Kestrel Ridge 132 kV substation | 132 | 75.6 | 2 | Operational | 2024-01-29 | 0 | Ahmed Rahimi
Millbrook Solar & Storage | NGT-OFF-2025-1187 | Connection offer (accepted) | Millbrook 132 kV substation | 132 | 70 | 20 | Accepted 2025-12-12 | 2028-10-31 | 0.6 | Ahmed Rahimi